## Sheet1
Zone | Area Command | Equipment Name | Equipment Description | Capacity/Rating (kVA) | Location | Brand Name | Serial No. | Insurance Policy No. | Acquisition Cost | Acquisition Date | Current Condition | Remark
Zone A | Apapa | Transformer | Koncar Transformer | 500kVA | Main Office Complex | Koncar |  |  |  |  | serviceable
Zone A | Apapa | MV Metering Panel | MBH Power Metering Panel | 11KV | Main Office Complex | MBH Power |  |  |  |  | serviceable
Zone A | Apapa | Generator | Mantrac/CAT Diesel Generator | 275kVA | Main Office Complex | Mantrac/CAT |  |  |  |  | serviceable
Zone A | Apapa | Generator | Diesel Generator | 250kVA | Main Office Complex | Green & Diesel Generator |  |  |  |  | serviceable
Zone A | Apapa | Generator | Mikano/Perkins Diesel Generator | 350kVA | Scanning Site | Mikano/Perkins |  |  |  |  | serviceable
Zone A | Apapa | Generator | Mikano/Yorc Diesel Generator | 200kVA | Scanning Site | Mikano/Yorc |  |  |  |  | serviceable
Zone A | Apapa | Generator | FG Wilson Diesel Generator | 350kVA | Scanning Site | FG Wilson |  |  |  |  | serviceable | Requires maintenance & servicing
Zone A | Apapa | Generator | SDMO Diesel Generator | 200kVA | Scanning Site | SDMO |  |  |  |  | serviceable | Dilapidated and recommended for disposal
Zone A | Apapa | Generator | Diesel Generator | 40kVA | Scanning Site | [5 empty] | serviceable
Zone A | CTC Ikeja | Transformer | Mitsubishi electric corp Transformer | 500KVA | Power house, CTC Ikeja | Mitsubishi electric corp | - | - | - | - | serviceable
Zone A | CTC Ikeja | Generator | Sat-Tech Diesel Generator | 500KVA | Power house, CTC Ikeja | Sat-Tech | - | - | - | - | serviceable | Powers the entire CTC
Zone A | CTC Ikeja | Generator | Jubaili Bros Diesel Generator | 45KVA | PCA, CTC Ikeja | Jubaili Bros | - | - | - | - | serviceable | Decomissioned, hence, recommended for disposal
Zone A | CTC Ikeja | Generator | Mikano Diesel Generator | 250KVA | New Classroom | Mikano | - | - | - | - | serviceable
Zone A | CTC Ikeja | Generator | SDMO Diesel Generator | 60KVA | New Classroom, CTC Ikeja | SDMO | - | - | - | - | serviceable | Faulty and not in use, hence, requires maintenance/servicing
Zone A | CTC Ikeja | Generator | Mantrac CAT Diesel Generator | 30KVA | CAC Residence, CTC Ikeja | Mantrac CAT | - | - | - | - | serviceable
Zone A | CTC Ikeja | Generator | Jubaili Bros Diesel Generator | 30KVA | Canteen Site, CTC Ikeja | Jubaili Bros | - | - | - | - | serviceable | Decomissioned, hence, recommended for disposal
Zone A | CTC Ikeja | Generator | Mikano Diesel Generator | 40KVA | PCA, CTC Ikeja | Mikano | - | - | - | - | serviceable | Decomissioned, hence, recommended for disposal
Zone A | FOU A | Generator | FG Wilson Perkins Generator | 275kVA | Office complex | Perkins | - | - | - | - | serviceable | Needs backup
Zone A | FOU A | Generator | JMG Perkins Generator | 60kVA | Government warehouse | Perkins | - | - | - | - | serviceable
Zone A | FOU A | Generator | JMG Perkins Generator | 60kVA | Government warehouse annex (mechanical workshop) | Perkins | - | - | - | - | serviceable
Zone A | FOU A | Generator | Mikano Perkins Generator for webfontaine | 40kVA | FOU A Ikeja Office Complex | Perkins | - | - | - | - | serviceable
Zone A | FOU A | Transformer | QRE Trafo Three – Phase Transformer | 200kVA | Office complex | QRE Trafo | - | - | - | - | serviceable
Zone A | Lagos Industrial | Generator | Mikano Generator | 100 | Lagos Industrial | Mikano | - | - | - | - | serviceable | Decomissioned and recommended for disposal
Zone A | Lagos Industrial | Generator | Marapco Generator | 45 | Lagos Industrial | Marapco | DK84794S035752G | - | - | - | serviceable | In good working condition
Zone A | Lagos Industrial | Generator | JMG Generator | 100 | Lagos Industrial | JMG | - | - | - | - | serviceable | Faulty and not currently in use, requires maintenance and servicing
Zone A | Murtala Mohammed Cargo | Generator | Mikano Generator | 250KVA | MMC, Lagos | Mikano | - | - | - | - | serviceable
Zone A | Murtala Mohammed Cargo | Generator | JMG Generator | 250KVA | MMC, Lagos | JMG | - | - | - | - | serviceable
Zone A | Murtala Mohammed Cargo | Generator | Mikano Generator | 250KVA | MMC Warehouse, Lagos | Mikano | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Murtala Mohammed Cargo | Generator | Perkins Generator | 100KVA | MMC Warehouse, Lagos | Perkins | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Ogun 1 | Generator | 500kva Perkins Generator | 500 | Junior Barrack | Perkins |  |  |  |  | serviceable | In use
Zone A | Ogun 1 | Generator | 250kva Perkins Generator | 250 | CAC Guest House | Perkins |  |  |  |  | serviceable | Not in use currently
Zone A | Ogun 1 | Generator | 100kva JMG Perkins Generator | 100 | Border | JMG (Perkins) |  |  |  |  | serviceable | In use
Zone A | Ogun 1 | Generator | 42kva JMG Perkins Generator | 42 | Imeko Outstation | JMG (Perkins) |  |  |  |  | serviceable | Operational but needs replacement due to frequent breakdown
Zone A | Ogun 1 | Generator | 30kva JMG Perkins Generator | 30 | CAC Guest House | JMG (Perkins) |  |  |  |  | serviceable | In use
Zone A | Ogun 1 | Generator | 30kva JMG Perkinserkins Generator | 30 | Ijofin Outstation | JMG (Perkins) |  |  |  |  | serviceable | In use
Zone A | Ogun 1 | Generator | 30kva DEMBAL Generator | 30 | Ohumbe Outstation | DEMBAL |  |  |  |  | serviceable | In use
Zone A | Ogun 1 | Generator | 27kva YOUNES Perkinserkins Generator | 27 | CAC Guest House | YOUNES (Perkins) |  |  |  |  | serviceable | In use
Zone A | Ogun 1 | Generator | 27kva YOUNES Perkinserkins Generator | 27 | Ijoun Outstation | YOUNES (Perkins) |  |  |  |  | serviceable | Needs replacement or upgrade to 60kVA Solar Power Plant
Zone A | Ogun 1 | Generator | 100kva Mikano Generator | 100 | Idiroko Border | Mikano |  |  |  |  | serviceable | In use
Zone A | Ogun 1 | Generator | 100kva SDMO Generator | 100 | Idiroko Border | SDMO |  |  |  |  | serviceable | Not in use
Zone A | Ogun 1 | Generator | 100kva Perkins Generator | 100 | Idiroko Border | Perkins |  |  |  |  | serviceable | Not in use
Zone A | Ogun 1 | Generator | 13kva Perkins Generator | 13 | Idiroko Border | Perkins |  |  |  |  | serviceable | Not in use
Zone A | Ogun 1 | Generator | 18kva Marapco Generator | 18 | Scanning Site, Idiroko Border | Marapco |  |  |  |  | serviceable | Not in use
Zone A | Ogun 1 | Generator | 42.5kva Deutz Generator | 42.5 | Scanning Site, Idiroko Border | Deutz |  |  |  |  | serviceable | Left uninstalled. Non-operational and obsolete
Zone A | Ogun 1 | Solar Power Plant | Inverter and BSS | 16 | Clinic, Idiroko | [5 empty] | serviceable | Working and in good condition
Zone A | Ogun 1 | Solar Power Plant | Inverter and BSS | 16 | Ohumbe Outstation (Residential and Administrative Blocks Inclusive) | [5 empty] | serviceable | Working and in good condition
Zone A | Ogun 1 | Solar Power Plant | Inverter and BSS | 3 | Ohumbe Outstation (Administrative Block) | [5 empty] | serviceable | Faulty
Zone A | Ogun 1 | Solar Power Plant | Inverter and BSS | 3 | Imeko Outstation (Administrative Block) | [5 empty] | serviceable | Working
Zone A | Ogun 1 | Solar Power Plant | Inverter and BSS | 3 | Imeko Outstation (Administrative Block) | [5 empty] | serviceable | Faulty
Zone A | Ogun 1 | Solar Power Plant | Inverter and BSS | 3 | Ijofin Outstation (OiC Block) | [5 empty] | serviceable | Working but batteries are not charging
Zone A | Ogun 1 | Solar Power Plant | Inverter and BSS | 3 | Ijofin Outstation (Administrative Block) | [5 empty] | serviceable | Faulty
Zone A | Ogun 1 | Solar Power Plant | Inverter and BSS | 3 | Ijoun Outstation (Administrative Block) | [5 empty] | serviceable | Working
Zone A | Ogun 1 | Transformer | T12N 200-11/0.415 KVA | 200 | Senior Barracks Idiroko | [5 empty] | serviceable | No record to prove customs ownership
Zone A | Ogun II | Generator | Sound Proof Perkins Generator | 150KVA | Abeokuta barracks | Perkins | - | - | - | - | serviceable
Zone A | Ogun II | Generator | Sound Proof Perkins Generator | 100KVA | Abeokuta barracks | Perkins | - | - | - | - | serviceable | Faulty, hence, requires maintenance and servicing
Zone A | Ogun II | Generator | Sound Proof Perkins Generator | 100KVA | Office Complex | Perkins | - | - | - | - | serviceable
Zone A | Ogun II | Generator | Sound Proof Perkins Generator | 100KVA | Abeokuta barracks | Perkins | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Ogun II | Generator | Marapco | 45KVA | Office Complex | Marapco | - | - | - | - | serviceable | For Webfontaine
Zone A | Ogun II | Transformer | Nexus Transformer | 300KVA 11/0.415KV | II | Nexus | - | - | - | - | serviceable
Zone A | Ondo/Ekiti | Generator | Enermart Generator Mikano 100kVA 400v |  | Akure Premises | Mikano |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Ondo/Ekiti | Generator | Perkin Engine 30kVA Generating plant |  | Akure Premises | Perkins |  |  |  |  | serviceable | Serviceable
Zone A | Ondo/Ekiti | Generator | Firman ECO 10990es Generator |  | Akure Premises | Firman |  |  |  |  | serviceable | Serviceable
Zone A | Ondo/Ekiti | Generator | Lutan 5GF-LDEM 6.0kVA Generator |  | Akure Premises | Lutan |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Ondo/Ekiti | Generator | Lister Petter Vulcan W270.27kVA. 29.7 |  | Controller Residence | Lister Petter Vulcan |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Ondo/Ekiti | Generator | Perkin Engine 30kVA Generating plant |  | Shagari Estate Akure | Perkins |  |  |  |  | serviceable | Serviceable
Zone A | Ondo/Ekiti | Generator | Firman 8kVA 10990es Generator |  | Controller Residence | Firman |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Ondo/Ekiti | Generator | FG Wilson Generating set 30kVA |  | Controller Residence | FG Wilson |  |  |  |  | serviceable | Serviceable
Zone A | Ondo/Ekiti | Generator | JMG diesel soundproof Generator set 30kVA |  | Ado Ekiti | JMG |  |  |  |  | serviceable | Serviceable
Zone A | Ondo/Ekiti | Transformer | 500kva Aston Distribution Transformer |  | Akure Premises | Aston |  |  |  |  | serviceable | Serviceable
Zone A | Ondo/Ekiti | Street Light | 34 Solar security light |  | Akure, Ado Ekiti and Shagari estate | [5 empty] | serviceable
Zone A | Oyo/Osun | Street Light | 73 Nos Outdoor Solar Street Lights | 300W each | Office complex and Ijokodo barracks, Ibadan | Felicity |  |  | 80472735 | 2026-04-07 | serviceable | 20 Nos Lightening fixtures need to be changed as majority of the lights are bad and have poor illumination
Zone A | Oyo/Osun | Generator | 45 KVA Pumpkin Generator | 45 KVA | Ayegun Outstation, Oyo State | Pumpkin | Name plate not visible |  |  |  | serviceable | Decommisioned and recommended for disposal
Zone A | Oyo/Osun | Generator | 100KVA FG Wilson Generator | 100 KVA | Abere, Osogbo Outstation, Osun State | FG Wilson |  |  | 14100250 | 2026-03-04 | serviceable | In good working condition
Zone A | Oyo/Osun | Generator | 27 KVA Benbow Generator | 27 KVA | Name plate not visible | Benbow | Name plate not visible |  |  |  | serviceable | In good working condition
Zone A | Oyo/Osun | Transformer | 300 KVA 11/0.415 KV ABB Transformer | 300 KVA 11/0.415 KV | Name plate not visible | ABB Elecktrik | Name plate not visible |  |  |  | serviceable | Decommisioned and recommended for disposal
ZoneA | PTML |  |  |  | PTML, Lagos | [5 empty] | serviceable
Zone A | Seme | Generator | 250kva Sound Proof Perkins Generator | 250 | Junior barracks | PERKINS | - | - | - | - | serviceable | In good condition
Zone A | Seme | Generator | 250kva Sound Proof Perkins Generator | 250 | Senior barracks | PERKINS | - | - | - | - | serviceable | Needs maintenance/servicing
Zone A | Seme | Generator | 500kva Sound Proof Perkins Generator | 500 | Junior barracks | PERKINS | - | - | - | - | serviceable | Not installed and needs maintenance/servicing
Zone A | Seme | Generator | 65kva JMG Generator | 65 | Operations | JMG | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 65kva JMG Generator | 65 | CAC house | JMG | - | - | - | - | serviceable | In good condition
Zone A | Seme | Generator | 40kva JMG Generator | 40 | Operations | JMG | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 250kva Mikano Generator | 250 | Operations | MIKANO | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 100kva Mikano Generator Generator for the | 100 | Operations | MIKANO | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 25kva Generator for Webfontane and Scanning Centres | 25 | Operations | MIKANO | - | - | - | - | serviceable | In good condition
Zone A | Seme | Generator | 100kva Mikano Generator Generator for Webfontane and Scanning Centres | 100 | Operations | MIKANO | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 100kva SDMO Generator Generator for Webfontane and Scanning Centres | 100 | Operations | SDMO | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 30kva Mikano Generator Generator for Webfontane and Scanning Centres | 30 | Operations | MIKANO | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 220kva JMG Generator Generator for Webfontane and Scanning Centres | 220 | New scanning | JMG | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 220kva JMG Generator Generator for Webfontane and Scanning Centres | 220 | New scanning | JMG | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Generator | 220kva JMG Generator Generator for Webfontane and Scanning Centres | 220 | New scanning | JMG | - | - | - | - | serviceable | Decommissioned and recommended for disposal
Zone A | Seme | Transformer | Transformers | 500 | Junior barracks |  | - | - | - | - | serviceable | In good condition
Zone A | Tincan Island | Generator | FG Wilson Generator | 500 | TCIP Office Complex | FG Wilson |  |  |  |  | serviceable
Zone A | Tincan Island | Generator | FG Wilson Generator | 500 | TCIP Office Complex | FG Wilson |  |  |  |  | serviceable
Zone A | Tincan Island | Generator | Mikano Generator | 350 | TCIP Office Complex | Mikano |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Generator | Mikano Generator | 40 | TCIP Office Complex | Mikano |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Generator | Mikano Generator | 100 | TCIP Office Complex | Mikano |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Generator | JMG Perkins Generator | 150 | TCIP Office Complex | JMG Perkins |  |  |  |  | serviceable
Zone A | Tincan Island | Generator | JMG Marapco Generator | 250 | TCIP Office Complex | JMG Marapco |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Generator | JMG Perkins Generator | 220 | TCIP Office Complex | JMG Perkins |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Generator | SDMO Generator | 220 | TCIP Office Complex | SDMO |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Generator | Mikano Generator | 200 | Ashaye Scanning Site | Mikano |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Generator | Mikano Generator | 200 | Ashaye Scanning Site | Mikano |  |  |  |  | serviceable
Zone A | Tincan Island | Generator | SDMO Generator | 200 | Ashaye Scanning Site | SDMO |  |  |  |  | serviceable
Zone A | Tincan Island | Generator | FG Wilson Generator | 300 | Ashaye Scanning Site | FG Wilson |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Generator | Mikano Generator | 200 | Ashaye Scanning Site | Mikano |  |  |  |  | serviceable
Zone A | Tincan Island | Generator | SDMO Generator | 80 | Ashaye Scanning Site | SDMO |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Tincan Island | Transformer | Meksan Transformer | 500 | TCIP Office Complex | Meksan |  |  |  |  | serviceable
Zone A | Western Marine | Generator | 100KVA Mikano Perkins Generator | 100 | WMC, Ibafon | Mikano | RJ1175U735906J | - | - | - | serviceable | In good working condition
Zone A | Western Marine | Generator | 100KVA Mikano Perkins Generator | 100 | WMC, Ibafon | Mikano | RJ51175U735310J | - | - | - | serviceable | In good working condition
Zone A | Western Marine | Generator | 100KVA Marapco Perkins Generator | 100 | WMC, Ibafon | Marapco | RJ1814U583335 | - | - | - | serviceable | Faulty but serviceable
Zone A | Zone A HQTRS | Generator | Mikano Generator | 114KVA | CTC, Ikeja | Mikano |  |  |  |  | serviceable
Zone A | Zone A HQTRS | Generator | FG Wilson Generator | 250KVA | GWH, Ikorodu | FG Wilson |  |  |  |  | serviceable
Zone A | Zone A HQTRS | Generator | FG Wilson Generator | 30KVA | GWH, Ikorodu | FG Wilson |  |  |  |  | serviceable
Zone A | Zone A HQTRS | Generator | SDMO Generator | 60KVA | GWH, Ikorodu | SDMO |  |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Zone A HQTRS | Generator | Perkins 3-Phase Generator | 350KVA | Lisabi Estate Apapa, Lagos | Perkins | C085212/01 |  |  |  | serviceable | Decommissioned and recommended for disposal
Zone A | Zone A HQTRS | Generator | FG Wilson Generator | 110KVA | Tinubu Street, Lagos | FG Wilson | FGWPEP72AGBW04316 |  |  |  | serviceable
Zone A | Zone A HQTRS | Generator | Perkins Diesel Generator | 500KVA | Medical Road, Lagos | Perkins |  |  |  |  | serviceable | Not installed
Zone A | Zone A HQTRS | Generator | FG Wilson Generator | 500KVA | Medical Road, Lagos | FG Wilson |  |  |  |  | serviceable | Not installed
Zone A | Zone A HQTRS | Transformer | ELCO Transformer | 300KVA | Harvey Road, Yaba | ELCO |  |  |  |  | serviceable | Disconnected due to construction activities
Zone A | Zone A HQTRS | Transformer | ABB Elektrik Transformer | 300KVA | Lisabi Estate Apapa, Lagos | ABB Elektrik |  |  |  |  | serviceable
Zone A | Zone A HQTRS | Transformer | Siemens Transformer | 300KVA | Medical Road, Lagos | Siemens |  |  |  |  | serviceable | Not installed
Zone A | Zone A HQTRS | Transformer | Pauwels Trafo Electric Transformer | 500KVA | Okokomaiko, Lagos | Pauwels Trafo |  |  |  |  | serviceable
Zone B | FCT | Transformer | 5000KVA | 5000KVA | FCT HQ | [5 empty] | Serviceable
Zone B | FCT | Generator | 100KVA Mikano | 100KVA | FCT HQ | Mikano |  |  |  |  | Serviceable
Zone B | FCT | Generator | 100KVA JMG | 100KVA | FCT HQ | JMG |  |  |  |  | Serviceable
Zone B | FCT | Generator | 60KVA MIKANO | 60KVA | FCT HQ | Mikano |  |  |  |  | Serviceable
Zone B | FCT | Generator | 65KVA JMG | 65KVA | FCT HQ | JMG |  |  |  |  | Serviceable
Zone B | HQ | Generator | 2755KVA JMG FG Wilson | 275KVA | AERO GARDEN | JMG FG Wilson |  |  |  |  | Serviceable
Zone B | HQ | Transformer | 5MVA Transformer | 5MVA | ABDUL-WAHAB | [5 empty] | Serviceable
Zone B | HQ | Transformer | 300KVA Transformer | 300KVA | ABDUL-WAHAB | [5 empty] | Serviceable
Zone B | HQ | Transformer Feeder | 11KVA Transformer Feeder | 11KVA | ABDUL-WAHAB | [5 empty] | Serviceable
Zone B | HQ | Transformer Feeder | 33KVA Transformer Feeder | 33KVA | ABDUL-WAHAB | [5 empty] | Serviceable
Zone B | HQ | Generator | 2 NOS OF 550KVA JMG FG Wilson Generator | 550KVA | ABDUL-WAHAB | JMG FG Wilson |  |  |  |  | Serviceable
Zone B | HQ | Transformer | 500KVA Transformer | 500KVA | GARKI | [5 empty] | Serviceable
Zone B | HQ | Generator | 500KVA Mikano Generator | 500KVA | GARKI | Mikano |  |  |  |  | Serviceable
Zone B | HQ | Generator | 66KVA Generator | 66KVA | GARKI | [5 empty] | Serviceable
Zone B | HQ | Generator | 2 NOS OF 30KVA JMG FG Wilson | 30KVA | KARU BARRACKS | JMG FG Wilson |  |  |  |  | Serviceable
Zone B | HQ | Transformer | 1000KVA Transformer | 1000KVA | KARU BARRACKS | [5 empty] | Serviceable
Zone B | HQ | Generator | 150KVA JMG FG Wilson | 150KVA | PRINTING PRESS, KARU | JMG FG Wilson |  |  |  |  | Serviceable
Zone B | HQ | Transformer | 500KVA Transformer | 500KVA | KARU WORKSHOP | [5 empty] | Serviceable
Zone B | HQ | Generator | 250KVA Mikano Generator | 250KVA | KARU WORKSHOP | Mikano |  |  |  |  | Serviceable
Zone B | HQ | Transformer | 1000KVA Transformer | 1000KVA | KARU HOSPITAL | [5 empty] | Serviceable
Zone B | HQ | Generator | 250KVA M Saleh Generator | 250KVA | KARU HOSPITAL | [5 empty] | Serviceable
Zone B | HQ | [9 empty] | Serviceable
Zone B | HQ | Generator | 250KVA Mikano Generator | 250KVA | KARU HOSPITAL | Mikano |  |  |  |  | Serviceable
Zone B | HQ | Generator | 2 NOS OF 550KVA FG Wilson Generator | 550KVA | KARU HOSPITAL | FG Wilson |  |  |  |  | Serviceable
Zone B | HQ | Generator | 30KVA Mikano Generator | 30KVA | KARU HOSPITAL | Mikano |  |  |  |  | Serviceable
Zone B | HQ | Generator | 500KVA JMG Wilson Generator | 500KVA | KARU HOSPITAL | JMG Wilson |  |  |  |  | Serviceable
Zone B | HQ | Generator | 3 NOS OF 1500KVA Caterpillar Generator | 1500KVA | MAITAMA HQ | Caterpillar |  |  |  |  | Serviceable
Zone B | HQ | Generator | 500KVA Caterpillar Generator | 500KVA | MAITAMA HQ | Caterpillar |  |  |  |  | Serviceable
Zone B | HQ | Transformer | 2 NOS OF 1250KVA Transformer | 1250KVA | MAITAMA HQ | [5 empty] | Serviceable
Zone B | HQ | Generator | 275KVA JMG FG Wilson Generator | 275KVA | MAITAMA HQ | JMG FG Wilson |  |  |  |  | Serviceable
Zone B | HQ | Generator | 250KVA Mikano Generator | 250KVA | MAITAMA HQ | Mikano |  |  |  |  | Serviceable
Zone B | HQ | - | 625KVA UPS Pillar | 625KVA | MAITAMA HQ | [5 empty] | Serviceable
Zone B | HQ | Generator | 50KVA Mikano Generator | 50KVA | MAITAMA HQ | Mikano |  |  |  |  | Serviceable
Zone B | NCCSC (TRADOC) | Transformer | Three -Phase Transformer | 500KVA | Substation Three | SEA Transformer | 723406 |  |  |  | Serviceable
Zone B | NCCSC (TRADOC) | Transformer | Three -Phase Transformer | 500KVA | Substation Three | SIEMENS Transformer | 587071 |  |  |  | Serviceable
Zone B | NCCSC (TRADOC) | Transformer | Three -Phase Transformer | 500KVA | Substation Three | AB Transformer | 56753 |  |  |  | Good
Zone B | NCCSC (TRADOC) | Transformer | Three -Phase Transformer | 2500KVA | Field | SEA Transformer | 104540 |  |  |  | Serviceable
Zone B | NCCSC (TRADOC) | Transformer | Three -Phase Transformer | 2.5MVA | Main Substation | ABB Transformer | Type: Tsph-T5012 |  |  |  | Good
Zone B | NCCSC (TRADOC) | Transformer | Three -Phase Transformer | 1000KVA | Hotel | MEKSAN Transformer | 47199 |  |  |  | Good
Zone B | NCCSC (TRADOC) | Transformer | Three -Phase Transformer | 500KVA | Substation One | SEA Transformer | 13268 |  |  |  | Good
Zone B | NCCSC (TRADOC) | Transformer | Three -Phase Transformer | 500KVA | Substation Two | MACE Transformer | 28815 |  |  |  | Serviceable
Zone B | NCCSC (TRADOC) | Generator | Three-Phase Generator | 1000KVA | Generator House | MARAPCO | 3844150001 |  |  |  | Good
Zone B | NCCSC (TRADOC) | Generator | Three-Phase Generator | 500KVA | Generator House | MIKANO | 38409600008 |  |  |  | Good
Zone B | NCCSC (TRADOC) | Generator | Three-Phase Generator | 500KVA | Generator House | MIKANO | 38409800005 |  |  |  | Good
Zone B | NCCSC (TRADOC) | Generator | Three-Phase Generator | 1000KVA | Hotel | PERKINS | N22F243999 |  |  |  | Serviceable
Zone B | NCCSC (TRADOC) | Generator | Three-Phase Generator | 550KVA | Hotel | FG WILSON | FGWPG777JK2905761 |  |  |  | Good
Zone B | NCCSC (TRADOC) | Generator | Three-Phase Generator | 150KVA | 56-Man Barracks | MIKANO | 0315482219 |  |  |  | Serviceable
Zone B | NCCSC (TRADOC) | Generator | Three-Phase Generator | 200KVA | Customs Bush Barracks | SAMTRA |  |  |  |  | Good
Zone B | NCCSC (TRADOC) | Generator | Three-Phase Generator | 30KVA | Customs Bush Barracks | MIKANO | P30-18-03-218 |  |  |  | Serviceable
Zone B | Kano/Jigawa | Transformer 200kVA | 200kVA 11/0.415kV Tp Trafind Transformer | 200kVA | Customs House Bompai Kano | Tp Trafind | 662709 |  |  |  | Serviceable
Zone B | Kano/Jigawa | Generator 250kVA | 250kVA Mikano Sound Proof Perkins Generator | 250kVA | Customs House Bompai Kano | Mikano |  |  |  |  | Serviceable
Zone B | Kano/Jigawa | Generator 250kVA | 250kVA Mikano Sound Proof Perkins Generator | 250kVA | Customs House Bompai Kano | Mikano | 09-P250-02-04 |  |  |  | Non-Serviceable | Need Nozzles
Zone B | Kano/Jigawa | Generator 114kVA | 114kVA Mikano Sound Proof Perkins Generator | 114kVA | Customs House Bompai Kano | Mikano |  |  |  |  | Non-Serviceable | Need Radiator
Zone B | Kano/Jigawa | Generator 100kVA | 100kVA Mikano Sound Proof Perkins Generator | 100kVA | Customs House Bompai Kano | Mikano | A70820338941 13 |  |  |  | Serviceable | Backup
Zone B | Kano/Jigawa | Generator 60kVA | 60kVA Mikano Sound Proof York Generator | 60kVA | Customs Clinic Bompai | Mikano |  |  |  |  | Serviceable
Zone B | Kano/Jigawa | Generator 275kVA | 275kVA Mantrac CAT Sound Proof Perkins Generator | 275kVA | Yankaba Customs Barracks | Mantrac CAT |  |  |  |  | Serviceable
Zone B | Kano/Jigawa | Generator 250kVA | 250kVA FG Wilson Sound Proof Perkins Generator | 250kVA | Dakata Customs Barracks | FG Wilson |  |  |  |  | Serviceable
Zone B | Kano/Jigawa | Transformer 200kVA | 200kVA 11/0.415kV Minel Transformer | 200kVA | Yankaba Customs Barracks | Minel Transformers Factory | 48210 |  |  |  | Serviceable
Zone B | CTC Kano | Generator 150kVA | 150kVA FG Wilson Generator | 150kVA | CTC Kano | FG Wilson | XP16E1 |  |  |  | Serviceable
Zone B | CTC Kano | Generator 80kVA | 80kVA FG Wilson Generator | 80kVA | CTC Kano | FG Wilson |  |  |  |  | Non-Serviceable
Zone B | CTC Kano | Generator 275kVA | 275kVA JMG Generator | 275kVA | CTC Kano | JMG |  |  |  |  | Serviceable
Zone B | CTC Kano | Transformer 1MVA | 1000kVA 33/0.415kV ABB Transformer | 1MVA | CTC Kano | ABB |  |  |  |  | Serviceable
Zone B | CTC Kano | Transformer 250kVA | 250kVA 11/0.415kVA Transformer | 250kVA | CTC Kano | [5 empty] | Serviceable
ZONE B | Katsina | 40kVA FG Wilson Generator | FG Wilson Generator | 40kVA | Jibia Magama Border Station | FG Wilson | --- | --- | --- | --- | Serviceable | Generator house roofing shattered by wind
ZONE B | Katsina | 25kVA JMG Generator | JMG Generator | 25kVA | Jibia Magama Border Station | JMG | --- | --- | --- | --- | Serviceable | No generator house
ZONE B | Katsina | 13.5kVA Mikano Generator | Mikano Generator | 13.5kVA | Jibia-Maje Border Station | Mikano | --- | --- | --- | --- | Serviceable | Good condition
ZONE B | Katsina | 30kVA JMG Generator | JMG Generator | 30kVA | Jibia-Maje Border Station | JMG | --- | --- | --- | --- | Serviceable | Generator house roofing shattered
ZONE B | Katsina | Lister Generator | Lister Generator |  | Kongolom Border Station | Lister | --- | --- | --- | --- | Operational
ZONE B | Katsina | 100kVA JMG Generator Perkins | JMG Generator Perkins | 100kVA | Kongolom Border Station | JMG | --- | --- | --- | --- | Serviceable | Rarely operate due to diesel cost
ZONE B | Katsina | 100kVA JMG Generator | JMG Generator | 100kVA | Zango Border Station | JMG | --- | --- | --- | --- | Serviceable | Good condition
ZONE B | Katsina | 30kVA JMG Generator | JMG Generator | 30kVA | Mai'adua Border Station | JMG | --- | --- | --- | --- | Serviceable | Good condition
ZONE B | Katsina | 25kVA FG Wilson Generator | FG Wilson Generator | 25kVA | Dankama Border Station | FG Wilson | --- | --- | --- | --- | Serviceable | Frequent Failure
ZONE B | Katsina | 25kVA FG Wilson Generator | FG Wilson Generator | 25kVA | Babban Mutum Border Station | FG Wilson | --- | --- | --- | --- | Serviceable | Frequent Failure
ZONE B | Katsina | 100kVA Marapco Generator | Marapco Generator | 100kVA | Customs House, GRA Katsina | Marapco | --- | --- | --- | --- | Serviceable | Good condition
ZONE B | Katsina | 100kVA Mikano Generator | Mikano Generator | 100kVA | Customs House, GRA Katsina | Mikano | --- | --- | --- | --- | Serviceable | Frequent Failure
ZONE B | Katsina | 20kVA Mikano Generator | Mikano Generator | 20kVA | CAC's Residence, Katsina | Mikano | --- | --- | --- | --- | Serviceable | Good condition
ZONE B | Katsina | 30kVA JMG Generator | JMG Generator | 30kVA | CAC's Residence, Katsina | JMG | --- | --- | --- | --- | Serviceable | Good condition
ZONE B | Katsina | 250kVA Perkins Generator | Perkins Generator | 250kVA | Customs Barracks Kofar Sauri, Katsina | Perkins | --- | --- | --- | --- | Serviceable | Not in use
ZONE B | Katsina | Transformer 300kVA | Transformer | 300kVA | Jibia Magama Border Station | Transformer | --- | --- | --- | --- | Operational | Good condition
ZONE B | Katsina | Transformer 100kVA | Transformer | 100kVA | Customs Barracks Kofar Sauri, Katsina | Transformer | --- | --- | --- | --- | Operational | Faulty phases
ZONE B | Katsina | Transformer 300kVA | Transformer | 300kVA | Customs Barracks Kofar Sauri, Katsina | Transformer | --- | --- | --- | --- | Operational | Good condition
ZONE B | Katsina | 5kwh Li-ion/3kVA Solar Inverter | Solar Inverter | 5kwh/3kVA | Jibia Magama Border Station | Solar Inverter | --- | --- | --- | --- | Operational | Needs Upgrade to higher capacity
ZONE B | Katsina | 5kwh Li-ion/3kVA Solar Inverter | Solar Inverter | 5kwh/3kVA | Jibia-Maje Border Station | Solar Inverter | --- | --- | --- | --- | System Failure | Needs Upgrade to higher capacity
ZONE B | Niger | 15KVA Perkins | 15KVA Perkins | 15KVA Perkins | CAC's Residence Behind Customs House, Minna | Perkins | --- |  |  |  | --- | Serviceable
ZONE B | Niger | Mikano 30KVA | Mikano 30KVA | Mikano 30KVA | CAC's Residence Behind Customs House, Minna | Mikano | --- |  |  |  | --- | Not Operational
ZONE B | Niger | Marapco 60KVA | Marapco 60KVA | 300 kVA ABB Transformer | Customs Barrack Bosso Estate | Marapco Generator | --- |  |  |  | --- | Not Operational
ZONE B | Niger | FG Wilson 275KVa | FG Wilson 275KVa | FG Wilson 275KVa | Customs House Minna | FG Wilson | --- |  |  |  | --- | Serviceable
ZONE B | Niger | Mikano 60KVA | Mikano 60KVA | Mikano 60KVA | Customs Office Lokoja Outstation | Mikano | --- |  |  |  | --- | Not Operational
ZONE B | Niger | Mikano 100KVA | Mikano 100KVA | Mikano 100KVA | Babanna Boarder Station | Mikano | --- |  |  |  | --- | Serviceable
ZONE B | Niger | 200KVA Transformer | 200KVA Transformer | 200KVA Transformer | Customs Barracks Behind Customs House | Transformer | --- |  |  |  | --- | Need Bigger Capacity
Zone D | Plateau/Nassarawa/Benue | Generator | Mikano perkins Generator | 13.5KVA | Dogon Karfe | Mikano | 508159U |  |  |  | Good | Good
Zone D | Plateau/Nassarawa/Benue | Generator | Mikano perkins Generator | 114KVA | Dogon Karfe | Mikano |  |  |  |  | Good | Good
Zone D | Plateau/Nassarawa/Benue | Generator | Mikano perkins Generator | 13.5KVA | Algadama | Mikano |  |  |  |  | Good | Good
Zone D | Plateau/Nassarawa/Benue | Generator | Mikano perkins Generator | 100KVA | Dogon Dutse | Mikano |  |  |  |  | Good | Good
Zone D | Plateau/Nassarawa/Benue | Generator | Firman | 7200watts | Jos road Lafia Nasarawa State | Firman |  |  |  |  | Good | Good
Zone D | Plateau/Nassarawa/Benue | Generator | Mikano perkins Generator | 60KVA | Lafia road Makurdi | Mikano |  |  |  |  | Good | Good
Zone D | Bauchi/Gombe | FG WILSON 33KVA Generator | Engine No DY32015x5069571JX | 33KVA | CAC's Residence | FG WILSON |  |  | 38000000 | 19/08/2024 | Good | Serviceable
Zone D | Bauchi/Gombe | Model PEKINS A127-55 60KVA | Engine No.542222 | 60KVA | Office Premise | PEKINS |  |  | 45000000 | 1987-12-07 00:00:00 | Good | Serviceable
Zone D | Zonal Office | MIKANO 30KVA | Engine No V414229Y | 30KVA | ACG's Residence | MIKANO |  |  | 38000000 | 2017-08-08 00:00:00 | Good | Serviceable
Zone D | Zonal Office | MIKANO 250KVA | Engine No WS5360N154401 | 250KVA | Customs Barrack | MIKANO |  |  | 20000000 | 19/9/2011 | Good | Serviceable
Zone D | Bauchi/Gombe | 60KVA Generator | Engine No U489291C | 60KVA | Customs Hospital | MIKANO |  |  |  | 15/2/2026 | Good | Serviceable
ZONE D | ADAMAWA | Mikano Generator | Mikano Generator | Mikano Generator | customs House, Korafe Adamawa | Mikano | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | ADAMAWA | 300 kVA ABB Transformer | 300 kVA ABB Transformer | 300 kVA ABB Transformer | 300 kVA ABB Transformer – Kofare Barracks | ABB Transformer | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | ADAMAWA | 300 kVA ABB Transformer | 300 kVA ABB Transformer | 300 kVA ABB Transformer | 300 kVA ABB Transformer – Command Office | ABB Transformer | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | ADAMAWA | 30 kVA Marapco Generator | 30 kVA Marapco Generator | 30 kVA Marapco Generator | 30 kVA Marapco Generator – Water pumping (Kofare) | Marapco Generator | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | ADAMAWA | 33 kVA FG Wilson Generator | 33 kVA FG Wilson Generator | 33 kVA FG Wilson Generator | 33 kVA FG Wilson Generator – CAC Residence Jimeta | Wilson Generator | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | ADAMAWA | 30 kVA Marapco Generator | 30 kVA Marapco Generator | 30 kVA Marapco Generator | 30 kVA Marapco Generator – Bakin Kogi Barracks | Marapco Generator | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | ADAMAWA | 3.5 kVA Inverter | 3.5 kVA Inverter | 3.5 kVA Inverter | 3.5 kVA Inverter – Ganye Outstation | Inverter | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | TARABA | 30 kVA Marapco Generator | 30 kVA Marapco Generator | 30 kVA Marapco Generator | 30 kVA Marapco Generator – Jalingo Office | Marapco Generator | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | ADAMAWA | 30 kVA Mikano Generator | 30 kVA Mikano Generator | 30 kVA Mikano Generator | 30 kVA Mikano Generator – Ganye | Mikano Generator | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | ADAMAWA | 13.5 kVA Mikano Generator | 13.5 kVA Mikano Generator | 13.5 kVA Mikano Generator | 13.5 kVA Mikano Generator – Since 2008 | Mikano Generator | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | TARABA | 13.5 kVA JMG Generator | 13.5 kVA JMG Generator | 13.5 kVA JMG Generator | 13.5 kVA JMG Generator | JMG Generator | --- | --- | --- |  | Serviceable | Serviceable
ZONE D | Borno/Yobe | FG Wilson Perkins | Generator | 250KVA | Customs House, Maiduguri | FG Wilson |  |  |  |  | Serviceable
ZONE D | Borno/Yobe | Perkins | Generator | 250KVA | Customs House, Maiduguri | Perkins |  |  |  |  | Good
ZONE D | Borno/Yobe | M Saleh | Generator | 100KVA | Junior Barracks, Maiduguri | M Saleh |  |  |  |  | Serviceable
ZONE D | Borno/Yobe | Mikano | Generator | 100KVA | Senior Barracks, Maiduguri | Mikano |  |  |  |  | Serviceable
ZONE D | Borno/Yobe | Perkins | Generator | 150KVA | Senior Barracks, Maiduguri | Perkins |  |  |  |  | Good
ZONE D | Borno/Yobe | Mikano | Generator | 100KVA | Customs House, Damaturu | Mikano |  |  |  |  | Non-Serviceable
ZONE D | Borno/Yobe | Perkins | Generator | 100KVA | Customs House, Damaturu | Perkins |  |  |  |  | Good
ZONE D | Borno/Yobe | Mikano | Generator | 100KVA | Customs office/Barracks Geidam | Mikano |  |  |  |  | Non-Serviceable
ZONE D | Borno/Yobe | Mikano | Generator | 13.5KVA | CAC lodge | Mikano |  |  |  |  | Good
ZONE D | Borno/Yobe | Solar Inverter | Inverter with necessary components and accessories | 3KVA | Customs House, Maiduguri. | -- |  |  |  |  | Non-Serviceable
ZONE D | Borno/Yobe | ABB Transformer | Transformer | 300KVA | Customs House, Maiduguri. | ABB |  |  |  |  | Good
ZONE D | Borno/Yobe | Transformer | Transformer | 200KVA | Senior Barracks, Maiduguri | -- |  |  |  |  | Good
ZONE D | Borno/Yobe | Siemens transformer | Transformer | 200KVA | Customs house, Damaturu | Siemens |  |  |  |  | Good
ZONE D | Borno/Yobe | Solar Panels Inverter | Inverter with necessary components and accessories | 3KVA | Customs Barracks, Geidam. | -- |  |  |  |  | Non-Serviceable
ZONE D | Borno/Yobe | Solar Panels Inverter | Inverter with necessary components and accessories | 3KVA | Customs Barracks, Gashua. | -- |  |  |  |  | Good
ZONE D | Borno/Yobe | Solar Panels Inverter | Inverter with necessary components and accessories | 3KVA | Customs Barracks, Nguru. | -- |  |  |  |  | Good